HSB713

Embedded COB PAR Lights

HSB713 is a high brightness COB PAR lights with built-in temperature control for meeting.

# In a silent state. Wide angle adjustment design of 0-85 degree can be adjusted ﬂexibly according to site requirements.

Outlet, to meet the diﬀerent angles of light rendering eﬀect.

Power  Supply: AC100-240V;50Hz-60Hz

Light Source: 36 X 3W high brightness LED(24 X 3200K warm white LED ;12 X 5600K cool white LED)

Light Source: 90W

Controls: DMX512,Sound activation,Auto

DMX Channels: 5/8 Channels

Life time: 60000  hours Bean angle: 25/45° optional

Strobe: Strobe speed up to 20 times/sec

Pan / Tilt rotation : 540° / 150°,rotate speed can be adjusted Control panel: 4 LCD tube + 4 press bottom

DMX connector: 2×Rj45,input and output;

2×XLR,input and output

Dimmer: 0-100% linearly adjustable Protection rate: IP20

Working environment: up to 40°C

Material : ﬁre-proof ABS plastic, White housing.

Dimension size : 187×170×197mm Packing side: 270×270×280mm 560×560×305mm(4pcs/ctn)

N.W: 1.5kg

G.W: 2.3kg/11.2kg (4pcs/ctn)

NIGHT SUN PROFESSIONAL	LIGHTING PROVIDER.